| Company data |  |  |  |  |
| --- | --- | --- | --- | --- |
| Company |  |  | Your Name |  |
| Street / PO box |  |  | Position |  |
| Postal code / City |  |  | tel: |  |
| Country |  |  | e-mail: |  |
| VAT ID / EIN / Tax ID |  |  | Website |  |
| Application |  |  |  |  |
| type of equipment / system |  |  |  |  |
| industry / application |  |  |  |  |
| project type | [ ] new installation [ ] replacement [ ] retrofit |  |  |  |
| existing fan model / serial no. |  |  |  |  |
| fan purpose | [ ] engine cooling [ ] heat exchanger [ ] ventilation [ ] cooling tower [ ] process air [ ] other |  |  |  |
| required quantity |  |  |  |  |
| start date of project / series production |  |  |  |  |
| annual quantity (if series production) |  |  |  |  |
| Fan type and installation |  |  |  |  |
| fan type | [ ] axial [ ] wall / panel [ ] impeller only [ ] FRP cooling tower [ ] radial [ ] other |  |  |  |
| airflow direction | [ ] suction [ ] blowing [ ] reversible [ ] not specified |  |  |  |
| installation | [ ] vertical [ ] horizontal [ ] inside [ ] outside |  |  |  |
| mounting | [ ] panel [ ] duct [ ] ring [ ] free inlet / outlet [ ] other |  |  |  |
| fan diameter / existing opening |  | mm |  |  |
| mounting space H x W x D |  | mm |  |  |
| rotation direction | [ ] clockwise [ ] counter-clockwise [ ] not specified |  |  |  |
| drawing / sketch / 3D model available |  |  |  |  |
| Required performance |  |  |  |  |
| required air flow |  | m³/h |  |  |
| static pressure |  | Pa |  |  |
| total pressure (if known) |  | Pa |  |  |
| fan speed |  | min-1 |  |  |
| maximum permissible noise level |  | dB(A) |  |  |
| operating air temperature |  | °C |  |  |
| operating hours |  | h/day |  |  |
| operation | [ ] continuous [ ] intermittent |  |  |  |

| Motor and electrical data |  |  |
| --- | --- | --- |
| motor / drive | [ ] AC [ ] EC [ ] DC [ ] hydraulic [ ] belt drive [ ] direct drive [ ] fan / impeller only |  |
| operating voltage / frequency / phase |  | V / Hz |
| motor power (if known) |  | kW |
| motor speed |  | min-1 |
| efficiency class | [ ] IE2 [ ] IE3 [ ] IE4 [ ] not specified |  |
| protection / insulation | [ ] IP55 [ ] IP65 [ ] other [ ] Class F [ ] Class H |  |
| frequency converter | [ ] required [ ] operation planned [ ] not required |  |
| safety switch | [ ] installed [ ] required [ ] not required |  |
| certification requirements |  |  |
| Materials and surface protection |  |  |
| materials | [ ] hot-dip galvanized steel [ ] stainless steel AISI 304 [ ] acid-resistant steel AISI 316 |  |
| materials cont. | [ ] composite (wall fans) [ ] aluminium [ ] polymer / plastic [ ] other |  |
| surface finish | [ ] powder coating [ ] wet painting [ ] other |  |
| coating / painting, surface strength, color tone |  |  |
| corrosion / environmental class |  |  |
| Ambient and working conditions |  |  |
| environment | [ ] clean [ ] dusty [ ] saliferous / marine [ ] oil mist |  |
| environment cont. | [ ] corrosive media [ ] high humidity [ ] UV exposure [ ] other |  |
| minimum ambient temperature |  | °C |
| maximum ambient temperature |  | °C |
| maximum working temperature |  | °C |
| maximum working pressure (if relevant) |  | Pa |
| pressure peaks / oscillating loads |  |  |
| dust / particles / contaminants details |  |  |
| Accessories |  |  |
| select | [ ] flexible connectors [ ] counter flange [ ] pair of mounting feet |  |
| select | [ ] vibration isolation kit [ ] suction cone + contact protection |  |
| select | [ ] impeller contact protection [ ] silencer RSDK [ ] other |  |
| possible muffler length and diameter |  | mm |

| Special requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| dimensioning specification |  |  |  |  |
| mounting specification |  |  |  |  |
| test specification |  |  |  |  |
| specification for acceptance |  |  |  |  |
| packing requirements |  |  |  |  |
| transport conditions |  |  |  |  |
| documentation required |  |  |  |  |
| destination country / city |  |  |  |  |
| preferred delivery terms |  |  |  |  |
| Schedule / piece number |  |  |  |  |
| stage | date of delivery |  | pieces / lot | pieces / year |
| prototype / unique piece |  |  |  |  |
| pre-series |  |  |  |  |
| series |  |  |  |  |
| Attachments |  |  |  |  |
| available | [ ] photo [ ] drawing [ ] existing fan datasheet [ ] 3D model [ ] technical specification [ ] other |  |  |  |
| Characteristic features / other |  |  |  |  |
| Privacy policy compliance |  |  |  |  |
| All information you send will be kept confidential and will not be disclosed to third parties. [ ] I agree with the Privacy Policy. |  |  |  |  |
| date |  |  | signature |  |